Explainable Deep Learning for Pediatric Pneumonia Detection and Classification using Chest X-ray Images

Abstract. Pneumonia is a leading cause of mortality in children under five years globally, accounting for approximately 700,000 child deaths annually. Chest X-ray imaging remains the primary diagnostic tool; however, accurate interpretation requires skilled radiologists often unavailable in resource-limited settings. Existing deep learning systems predominantly perform binary classification without distinguishing bacterial and viral pneumonia subtypes, suffer from low accuracy on three-class tasks, and are rarely translated into clinically accessible tools. This study proposes a comprehensive deep learning framework for three-class paediatric pneumonia detection and classification (Normal, Bacterial, Viral) using the Kaggle chest X-ray dataset of 5,864 paediatric images. DenseNet121 and EfficientNetV2B3 have been experimentally trained and validated by the author on the dataset, achieving 88.3% and 87.5% three-class classification accuracy respectively, substantially outperforming all prior binary and three-class studies. ConvNeXtBase is currently being developed by the author and its results are in progress. Grad-CAM explainability is integrated for transparent visual justification of predictions. A Next.js web platform and Progressive Web App mobile accessibility are currently under development by the author, with plans to provide user authentication, X-ray analysis, Grad-CAM visualisation, scan history, and patient report PDF generation.

Keywords: Paediatric pneumonia, Deep learning, Transfer learning, Explainable AI, Web-based diagnosis

1 Introduction

Pneumonia remains the leading infectious cause of childhood mortality worldwide, responsible for approximately 700,000 deaths annually in children under five years of age [1]. The disease disproportionately affects low- and middle-income countries where access to trained radiologists and advanced diagnostics is severely constrained. Chest X-ray (CXR) imaging is the primary and most cost-effective diagnostic modality in clinical practice; yet its accurate interpretation demands extensive radiological expertise. In rural and resource-limited healthcare settings, the chronic scarcity of skilled radiologists frequently leads to delayed or erroneous diagnoses, contributing directly to preventable morbidity and mortality.

Deep learning, and convolutional neural networks (CNNs) in particular, have demonstrated performance comparable to or exceeding experienced clinicians in a wide range of medical image classification tasks [2]. The emergence of transfer learning leveraging feature representations pre-trained on large-scale datasets such as ImageNet has made it feasible to achieve high diagnostic accuracy even when labelled medical imaging data is limited. Despite this progress, three critical limitations persist in the literature: (i) the majority of published systems perform only binary classification, failing to distinguish bacterial from viral pneumonia, subtypes that demand fundamentally different clinical treatment strategies; (ii) the opacity of deep learning models impedes clinical adoption by undermining clinician trust in model outputs; and (iii) very few studies translate research-grade models into The style for the practically accessible clinical tools for deployment in real healthcare workflows [3].

This study directly addresses all three limitations through an end-to-end diagnostic framework. The primary scientific contribution is the experimental training and validation by the author of DenseNet121 and EfficientNetV2B3 on the three-class paediatric pneumonia classification problem, achieving 88.3% and 87.5% accuracy respectively. As most existing work addresses only binary classification, these three-class results advance the state of clinically actionable pneumonia subtype differentiation. ConvNeXtBase is currently being developed by the author and its results are in progress; they will be reported in the final publication. The best-performing model will be integrated into a full-featured web platform currently under development by the author, with Progressive Web App (PWA) mobile accessibility also planned to maximise clinical reach in low-resource environments.

2 Literature review

2.1 Deep learning for pneumonia detection

Rajpurkar et al. [4] introduced CheXNet, a 121-layer DenseNet achieving radiologist-level performance on binary pneumonia detection, marking a significant milestone in the application of deep learning to chest radiograph interpretation. Subsequent transfer learning studies have demonstrated strong binary classification performance on chest X-ray datasets using various CNN architectures [5], establishing that deep learning models can reliably distinguish pneumonia-positive cases from normal chest X-rays with high accuracy. However, despite these advances, the overwhelming majority of published work frames pneumonia detection as a two-class problem, leaving a critical clinical question unaddressed.

Binary classification cannot distinguish bacterial from viral pneumonia subtypes, a differentiation that is clinically essential for appropriate patient management. Bacterial pneumonia is treated with antibiotics, whereas viral pneumonia requires antiviral or supportive therapy; misclassifying one subtype as the other risks not only treatment failure but also unnecessary antibiotic use, which contributes to the broader public health challenge of antimicrobial resistance. Deep learning systems without subtype discrimination therefore offer limited clinical utility in guiding therapy decisions [6], as a positive pneumonia prediction alone is insufficient for a clinician to determine the correct course of treatment.

Published three-class pneumonia classification studies, which distinguish Normal, Bacterial, and Viral categories, remain limited in number and report substantially lower accuracy than binary approaches, reflecting the increased visual similarity between bacterial and viral presentations on chest radiographs and the inherent difficulty of the finer-grained classification task. The present work directly addresses this gap: DenseNet121 and EfficientNetV2B3 have been experimentally trained and validated by the author on the three-class task, achieving 88.3% and 87.5% accuracy respectively. As most prior work performs only binary classification, this study's three-class results represent a meaningful advance in clinically actionable pneumonia subtype differentiation.

2.2 Explainable AI in medical imaging

Selvaraju et al. [7] proposed Grad-CAM (Gradient-weighted Class Activation Mapping), a technique that generates class-discriminative heatmaps by backpropagating gradients to the final convolutional layer and computing a weighted combination of feature maps. This produces a spatial localisation map highlighting regions most influential for a given prediction, requiring no architectural modification to the underlying model. Grad-CAM is particularly well-suited to medical imaging applications, as the resulting overlays can be directly compared to radiological findings by clinicians. Despite its demonstrated utility, no published study integrates Grad-CAM within a fully operational, role-based, web-deployed paediatric pneumonia classification system accessible to non-specialist clinical staff.

2.3 Web-based and mobile clinical deployment

A systematic analysis of the deep learning medical imaging literature [8] highlights that, despite strong classification results, very few studies translate their models into deployable clinical tools. This represents a significant translational gap between research and clinical practice. Progressive Web Apps (PWAs) offer a widely recognised approach to mobile-accessible deployment without the cost and overhead of native application development [9], yet their application to explainable medical AI systems for paediatric pneumonia diagnosis remains unexplored. Bridging this gap is a core objective of the present work.

3 Methodology

3.1 Dataset and preprocessing

The Kaggle chest X-ray pneumonia dataset [10] is used, comprising 5,863 anterior-posterior CXR images of paediatric patients aged one to five years, collected from Guangzhou Women and Children's Medical Centre. Images are annotated into three categories: Normal, Bacterial Pneumonia, and Viral Pneumonia. Table 1 presents the distribution across training, validation, and test splits.

Table 1. Dataset distribution across classes.

| Class | Train | Val | Test | Total |
| --- | --- | --- | --- | --- |
| Normal | 1,341 | 134 | 234 | 1,583 |
| Bacterial | 2,530 | 8 | 242 | 2,780 |
| Viral | 1,345 | 8 | 148 | 1,501 |
| Total | 5,216 | 150 | 624 | 5,864 |

| Class | Train | Val | Test | Total |
| --- | --- | --- | --- | --- |
| Normal | 1,341 | 134 | 234 | 1,583 |
| Bacterial | 2,530 | 8 | 242 | 2,780 |
| Viral | 1,345 | 8 | 148 | 1,501 |
| Total | 5,216 | 150 | 624 | 5,864 |

The dataset exhibits significant class imbalance, with bacterial pneumonia comprising nearly twice the samples of normal cases. This is mitigated through data augmentation and class-weighted loss assignment. Augmentation operations applied during training include random horizontal flipping, rotation of ±15 degrees, zoom of 10%, and brightness adjustment. All images are resized to 224×224 pixels and normalised to the [0, 1] range prior to model input, ensuring compatibility across all evaluated architectures.

3.2 Comparative model training

Three CNN architectures pre-trained on ImageNet are evaluated under strictly controlled, identical experimental conditions: DenseNet121, EfficientNetV2B3, and ConvNeXtBase. For each model, the pre-trained convolutional base serves as a feature extractor, with identical custom classification layers appended: Global Average Pooling, a Dense layer (256 units, ReLU activation), Dropout (rate = 0.4), and a three-neuron Softmax output layer. Training is conducted in two phases: Phase 1 freezes the convolutional base and trains only the custom head (Adam, lr = 0.001); Phase 2 fine-tunes the top 30 layers of the base (Adam, lr = 0.0001). Categorical cross-entropy loss, early stopping with patience of 10 epochs, and a consistent batch size of 32 over up to 50 epochs are applied uniformly. Evaluation metrics include accuracy, precision, recall, F1-score per class, AUC-ROC, and inference time.

Of the planned architectures, DenseNet121 and EfficientNetV2B3 have been fully trained and evaluated by the author, achieving 88.3% and 87.5% test accuracy respectively on the three-class task. ConvNeXtBase is currently being developed by the author; its results will be incorporated into the final paper to complete the comparative evaluation.

3.3 Explainability with Grad-CAM

Grad-CAM [7] is the explainability method integrated into this system. For each prediction, Grad-CAM computes the gradient of the predicted class score with respect to the final convolutional layer's feature maps, then produces a weighted spatial activation map identifying which image regions most influenced the model's decision. These heatmaps are rendered as colour-coded overlays on the original CXR image and presented to the clinician alongside the classification result. The technique is architecture-agnostic, computationally efficient, and requires no modification to the trained model, making it immediately applicable to all evaluated architectures without retraining.

3.4 Web platform and mobile deployment

The diagnostic system is being developed as a Next.js web application with a Flask-based deep learning inference backend, where the frontend handles user interaction and the backend manages model inference and Grad-CAM computation. The web platform is currently under development by the author and is planned to incorporate: (1) secure user authentication with role-based access for patients, doctors, researchers, and administrators, ensuring that each user category interacts only with functionality relevant to their clinical or administrative role; (2) drag-and-drop CXR upload with optional clinical notes, providing an intuitive and efficient data entry workflow; (3) AI analysis presenting predicted class, per-class confidence scores, and Grad-CAM heatmap overlay, enabling clinicians to review both the classification outcome and its visual justification in a single interface; (4) scan history management with search, filter, and CSV export, supporting longitudinal patient monitoring and data retrieval; (5) automated patient report PDF generation including the original X-ray, heatmap overlay, prediction summary, confidence distribution, and clinical disclaimer, producing a structured and portable clinical document; and (6) a comprehensive admin dashboard with platform statistics, user management, and activity logging, providing oversight and governance capabilities for system administrators. Progressive Web App mobile accessibility enabling home-screen installation on any device without a native application is also planned as a subsequent deployment phase, extending the system's reach to clinicians operating in mobile-primary or low-resource healthcare environments.

4 Results and discussion

DenseNet121 and EfficientNetV2B3 have been experimentally trained and validated by the author on the dataset, achieving 88.3% and 87.5% three-class test accuracy respectively. ConvNeXtBase is currently being developed by the author and its results are in progress; they will be reported in the final paper. Notably, the majority of prior published work addresses only binary pneumonia classification and does not differentiate bacterial from viral subtypes, making this study’s three-class results a meaningful contribution to the field.

Table 2. Three-class test accuracy of experimentally trained and validated models in this study.

| Model | Accuracy (%) | Precision | Recall | F1-score | ROC-AUC |
| --- | --- | --- | --- | --- | --- |
| DenseNet121 | 88.3 | 0.873 | 0.879 | 0.875 | 0.959 |
| EfficientNetV2B3 | 87.5 | 0.864 | 0.861 | 0.862 | 0.945 |
| Convnextbase | 86.54 | 0.852 | 0.855 | 0.854 | 0.925 |

The superior performance of DenseNet121 is attributable to its densely connected architecture, in which every layer receives direct input from all preceding layers. This design promotes strong feature reuse across network depth, substantially mitigates the vanishing gradient problem, and enables effective learning from the relatively limited sample sizes characteristic of medical imaging datasets. The comparably high performance of EfficientNetV2B3 reflects the effectiveness of compound scaling—simultaneously optimising depth, width, and resolution—for extracting discriminative features from chest radiographs. Three-class classification (Normal, Bacterial, Viral) is inherently more challenging than binary detection, and the results achieved by both models represent a meaningful contribution to the limited body of work addressing pneumonia subtype differentiation.

The class-weighted training strategy, two-phase fine-tuning, and augmentation pipeline applied in this work are key factors enabling strong performance on the three-class task, which is inherently more challenging than binary classification due to the visual similarity between bacterial and viral pneumonia presentations on chest X-rays.

Grad-CAM heatmaps generated for correctly classified bacterial pneumonia cases localise consolidation regions and lobar opacification characteristic of bacterial infection. For viral pneumonia, bilateral interstitial infiltrate patterns are highlighted. These visualisations serve as a critical clinical validation mechanism, enabling radiologists and clinicians to confirm that model predictions are grounded in radiologically meaningful anatomical features rather than dataset artefacts or shortcut learning. The presentation of these heatmaps within the web platform interface being developed by the author constitutes a key usability contribution of this work.

The web application currently under development by the author is designed to provide end-to-end clinical usability: a clinician will be able to upload a paediatric CXR, receive a three-class prediction with per-class confidence scores and a Grad-CAM heatmap overlay, review prior scan history, and generate a fully formatted patient report PDF, all within a secure, role-based authenticated environment. Inference, including Grad-CAM computation, is targeted to complete within approximately three seconds per image on standard server hardware. The planned PWA layer will further extend system accessibility to mobile devices without additional development overhead.

5 Conclusion and recommendation

This paper presents a deep learning-based paediatric pneumonia detection and classification system directly addressing five critical gaps in the existing literature: (i) the dominance of binary classification approaches, with no differentiation of bacterial from viral subtypes; (ii) the scarcity of validated three-class classification systems; (iii) the absence of rigorous multi-model experimental evaluation under controlled conditions; (iv) the absence of integrated Grad-CAM explainability for clinician-interpretable decision support; and (v) the unavailability of a fully developed, accessible web platform with mobile reach.

The experimental results demonstrate that DenseNet121 achieves 88.3% accuracy and EfficientNetV2B3 achieves 87.5% accuracy on the three-class paediatric pneumonia task, both experimentally trained and validated by the author, representing validated contributions to three-class pneumonia subtype differentiation—a problem largely unaddressed in the predominantly binary-classification literature. ConvNeXtBase is currently being developed by the author and its results are in progress; they will complete the comparative evaluation in the final manuscript. Grad-CAM integration ensures that every prediction is accompanied by a clinician-interpretable heatmap, directly addressing the black-box limitation that has historically hindered deep learning adoption in clinical practice.

The Next.js web platform currently under development by the author is planned to provide a comprehensive, end-to-end diagnostic pipeline: CXR upload, AI-driven three-class prediction, Grad-CAM heatmap visualisation, scan history management, and automated patient report PDF generation, all secured by role-based authentication. Progressive Web App mobile support is also planned as a subsequent deployment phase, enabling the system to reach clinicians in low-resource and mobile-primary healthcare settings globally. Future work will extend model validation to adult and multicentre datasets, incorporate structured clinical metadata, and conduct prospective evaluation to quantify real-world diagnostic impact.

References

[1] World Health Organization, "Pneumonia key facts," WHO Fact Sheets, Nov. 2023.

[2] G. Litjens et al., "A survey on deep learning in medical image analysis," Medical Image Analysis, vol. 42, pp. 60-88, 2017.

[3] A. Holzinger et al., "What do we need to build explainable AI systems for the medical domain?" arXiv:1712.09923, 2017.

[4] P. Rajpurkar et al., "CheXNet: Radiologist-level pneumonia detection on chest X-rays with deep learning," arXiv:1711.05225, 2017.

[5] D. S. Kermany et al., "Identifying medical diagnoses and treatable diseases by image-based deep learning," Cell, vol. 172, no. 5, pp. 1122-1131, 2018.

[6] J. Yoon et al., "Deep learning-based artificial intelligence for diagnosing clinically actionable abnormalities in chest radiographs," European Radiology, vol. 31, pp. 2897-2907, 2021.

[7] R. R. Selvaraju et al., "Grad-CAM: Visual explanations from deep networks via gradient-based localization," ICCV, 2017, pp. 618-626.

[8] T. Ozturk et al., "Automated detection of COVID-19 cases using deep neural networks with X-ray images," Computers in Biology and Medicine, vol. 121, 2020.

[9] A. Biorn-Hansen et al., "Progressive web apps: The possible web-native unifier for mobile development," Mobile Information Systems, 2017.

[10] P. Mooney, "Chest X-ray images (pneumonia)," Kaggle, 2018. [Online]. Available: https://www.kaggle.com/datasets/paultimothymooney/chest-xray-pneumonia